**NEW ZEALAND BUILDING CODE DOCUMENTATION FOR FLOOR COVERINGS (HYBRID)**

**Consent detail:** CONSENT APPLICATION NUMBER / ADDRESS HERE

**Floorscape Product:** Hybrid - ENTER BRAND AND STYLE NAME HERE

COUNCIL NAME AND ADDRESS DETAIL HERE

Dear NAME,

Scope: Provide required documentation to provide evidence to satisfy the relevant clauses set out in Schedule 1 of New Zealand Building Code for the nominated Floor Covering in both single-level and multi-level buildings.

Composition of Floorscape Hybrid product:

Hybrid is comprised of seven key layers:

* Top Layer
* Ximer cured Polyurethane.
* Design Layer
* True to nature design and structure
* WPC Accoustic Layer
* Glass Fire reinforced rigid layer
* SPC Stability Layer
* Glass Fire reinforced rigid layer
* Integrated Underlay



Integrated Underlay

Glass Fibre Layer

SPC Stability Layer

WPC Accoustic Layer

Glass Fire Layer

Ultra-Durable Top Layer

Design Layer

The New Zealand Building Code clauses and evidence relevant to this consent for Floorscape product are listed below:

|  |  |  |  |
| --- | --- | --- | --- |
| **NZBC Code Clause** | **Compliance Information Used** | **How the information is used** | **Evidence** |
| **SINGLE-LEVEL**  E3-**Internal Moisture**  E3.3.3; E3.3.5 Re: Impervious and Easily cleaned surfaces  B2-**Durability**  B2.3.1 (c) 5 years  (i) Re: linings to satisfy the performance requirements with normal maintenance where they are easy to access and replace.  (ii) Re: failure is easily detected during normal use of the *building*. F2.- **Hazardous building materials** F2.3.1 Re: harmful emissions from materials used. (Formaldehyde is a naturally occurring chemical in wood and is commonly used in the production process of wood composite panels E.g. Cabinetry, Furniture, Plywood, Chipboard etc.) | ISO4760 Topical Moisture Resistance – Assembles Joint  Manufacturer’s specifications Care and Maintenance instructions. In addition to the aminoplastic thermosetting resin surface make-up requirements in EN13329 (see below) the easily cleaned surface is also enhanced with the application of Ximer cured Polyurethane.    EN16511 Standard: Loose-laid panels – Semi-rigid multilayer modular floor covering (MMF) panels with wear resistant top layer  EN717-1 VOC Emission Standard: Wood-based Panels – Determination of Formaldehyde Release – Formaldehyde emission by the chamber method. | Independently tested in New Zealand by New Zealand Wool Testing Authority to demonstrate over a period of 24 hours that the sample joints tested did not allow water penetration through to the substrate.  Three boards are assembled together, and a 100mm diameter plastic cylinder is sealed to the board directly above the T-Joint. 100mm of water is then placed into the cylinder with 5 drops of colour dye. This is left for 24 hours, after which the cylinder is removed and the joint disassembled, to expose what if any moisture had passed through the board. This demonstrates that the surface of the board (the Hybrid and the board joints did not allow moisture penetration and can therefore be considered impervious).  The top surface wear layer is comprised of Ximer cured Polyurethane. This Polyurethane enables the surface to be cleaned easily. In effect only requiring a moistened cloth or sponge, or dirtier surfaces requiring a little water and gentle cleaning agent. The use of UV Cured Lacquer provides an easy cleaned surface as required by E3.3.3 and E3.3.5  Floorscape Care and Maintenance instructions to demonstrate that Floorscape product is Impervious and Easy to clean  Independent Taber testing for classification requirements to EN16511  AC rating per Table 2 of EN16511 standard  Normal maintenance requirements for these areas are set out in the Floorscape Care and Maintenance instructions to cover ‘water splash’ per E3.3.3 classification within NZBC.  This product is not suitable for inside a shower cubicle (continuous wet area)  Independent testing to demonstrate E1 result which is designated under the lowest category for formaldehyde emission per EM717-1 standard (Release ≤ 0.124 mg/m3 air) | NZWTA Certification  Floorscape Care and Maintenance instructions to be followed by consumer  NZWTA Taber Test Certification  Eurofins VOC test report |

Based on the above, and the certification that is provided attached to this document, we believe that this product is fit for purpose and meets the relevant clauses set out in Schedule 1 of the New Zealand Building Code.

Installation instructions and Technical Data Sheets can be provided on request.

Thanks and Regards

**YOUR NAME AND SIGNATURE**